Minutes of Meeting
GMRT	Minutes of Meeting

Meeting	Meeting related to In House CMS development
Held on	13th AUGUST 2013 Time : 10.30 AM to 1.00 PM; GMRT canteen Annex room
Attendees	NGK, SNK,CPK & RRU
Agenda	In House CMS development
Highlights / and items / discussed	Discussed following items : / RRU updated Miltec PC has been tested for Ethernet communication. / 1. Client running on Miltec PC & Server running on Teleset PC. / 2. Readline server running on Miltec PC & communicating with MCM placed at C03. / - RRU studied the Modbus communication protocol. / - RRU worked on reducing the back ground monitoring from 2 sec to 1 sec using / setsocketopt but packets were dropping. He will work on it. / RRU explained the program design of prototype Online_v2 which running in Telemetry Lab for two antenna with 8 MCM card connected. / RRU demonstrated the live shared memory data monitoring of Online_v2 & Readline server which is getting data from C03 antenna MCM. / CPK updated that he has sent the indent for L2 N/W switch. / L3 N/W search & comparison started. / 51 MCM cards have been tested. / SNK showed the plot of temperature & Raw data from the C03 antenna MCM card. / SNK used Perl, PHP, Javascript & MySql. / SNK suggested Python for Online system work environment & scripts. Desktop application can talk to Python scripts. / NGK suggested that : / Procedure which are very much used can go into Online_v2 program as C code. / Our next step will be linking QT GUI with Online_v2 program. / Web based GUI development is the area where we will now have to concentrate. / Web based GUI will have data monitoring, user interface, Engineering interface & astronomy interface. / NGK asked CPK to initiate discussion related to ABCCOM by sending email to plan meeting & academics. / CPK suggested NGK to start discussion with servo system group head related to servo & FPS system communication. / Our focus should be on developing a reliable & robust Online system. / Now we will work on linking all scattered parts. / To link one more antenna like C03 antenna by putting one MCM card. / NGK asked about TCS update. / NGK suggested to listed the problem which we are facing. / To list out commands which can be implemented in Online_v2 after that we can work on writing procedure. / To link front GUI with Online_v2.