Minutes of Meeting
GMRT	Minutes of Meeting

Meeting	Meeting related to In House CMS development
Held on	15Th JULY 2014 Time : 11.30 AM to 1.00 PM , GMRT conference room
Attendees	NGK, SN, CPK, SNK,SSS & RRU
Agenda	In House CMS development
Highlights / and items / discussed	RRU updated that along with Naresh Sisodiya one MCM two sub-system ( Sentinel & OF ) has been successfully tested in Lab. / # NGK asked to check round trip time & plot the data for command & response. / SSS updated that he tried 1000 iteration but no change has been observed. / # NGK asked to try GMFIT & front end for point source image of single channel data. / SNK updated that he is logging MCM data in database. / Changed ondisp to show multi subarray configuration. / TAX program will take 1 or 2 days to complete. / Temperature test done, it show no change. / SN updated that he will require a server class machine for IP enabled camera monitoring & storage. / CPK updated that he was busy with indent & purchase order of server class machine & L2, L3 N/W switches. / * Discussed server class machine specification in detail. / Work order for RFI shielded box for rabbit MCM & L2 N/W switches has gone & Mr. Kale is looking into that. / CPK working with Pravin Raybole to identify RFI shielded connectors. / Cisco L2 N/W switches indent is with YG for approval. / CPK updated that Telemetry Lab will require SMD machine. / Servo Lab has that machine. / # NGK asked CPK to discuss with servo people so that SMD machine of Servo Lab can be utilized by Telemetry Lab. / CPK will raise indent for 10 Miltec PC as asked by YG. / # NGK asked CPK to check serial port communication of rabbit MCM card & FPS system. / NGK suggested for a bigger discussion which can happen in second week of November 2014 after we are done with our Online_V2 testing.