Minutes of Meeting
GMRT	Minutes of Meeting

Meeting	Meeting related to In House CMS development
Held on	1st APRIL 2014 Time : 15.00 PM to 15.30 PM , GMRT conference room,NCRA board room
Attendees	NGK, SN,CPK,SNK, DBB,NMS & RRU
Agenda	In House CMS development
Highlights / and items / discussed	CPK updated that Mr. Mangesh has installed two N/W switch in Telemetry Lab configured as Lab (192.168.8.X) and antenna (192.168.21.X) switch. / - Received two Miltec PC from vendor. / - total 70 MCM cards have been tested. / NMS updated that RF system has been successfully interfaced with New MCM card. / Complete Online_V2 chain used to tested the control part of optical fiber unit. / Spectrum analyzer was used to see the output. Both channel tested. / - Bit pattern of RF system implemented inside MCM program. / - Ping functionality is also implemented inside MCM card. / DBB updated that / 1) Interfaced Python Environment with Online_V2. / 2) Implemented two commands related to setting of attenuation of optical fiber / system and digital mast of sentinel system. / 3) current version of astroPy doesn't support LST calculation. Will try Beta version of / astroPy. / RRU updated that / - Interfaced Python Environment with Online_V2 & successfully tested by giving / command to S04 MCM card configured as Fiber Optics system. / - Multi antenna can be given commands from Python environment. / - Shifted all N/W connection on new N/W switch in Lab. Connected PC104 card / directly with Online_V2.PC104 card was on antenna switch by assigning IP / 192.168.21.100. It's working fine with Online_V2 without any problem. / Nayak ji updated that / - Long term plan for testing Online_V2 with full antenna sub-system was asked in / GSG meeting. / NGK updated about points related to Telemetry Lab discussed in GSG meeting / - Extra MCM cards requirement cleared by YG. CPK can put indent for extra MCM / cards. / - FPS group is not interested in using MCM card for FPS system. / - Summary of MCM card to be sent by CPK/NMS to FPS group. / - In meeting it was agreed upon that our main focus will be Sentinel,OF & servo / system, Once we are through with these development & testing we will start / working on interfacing other system by writing some interface layer / software, developing hardware. / - NGK will be in GMRT on 4th April as well as on 10th & 11th April.