Minutes of Meeting
GMRT	Minutes of Meeting

Meeting	Meeting related to In House CMS development
Held on	22nd OCTOBER 2013 Time : 11.30 AM to 12.30 PM; GMRT conference room
Attendees	NGK, S NAYAK,CPK, NMS, SSS, MBM & RRU
Agenda	In House CMS development
Highlights / and items / discussed	Discussed following items : / RRU updated that he has done testing of setting control bit by connecting test jig in C03 antenna test set up with the help of MBM by both GUI & terminal input. / - Explored Ethernet broadcast & circulated document. / - Implemented state machine logic in Online_v2 where Online_v2 will not crashed by any / malfunctioning at antenna side like power shutdown, cable unplugging, ERROR / in reading MCM response. Whenever Online_v2 detects any of these, it kill that particular / antenna device thread by calling terminate_thread function. All this test condition tested in / Lab as well as C03 antenna. / - Done the modification in mcmtest.c program as per FE group request. / - NGK suggested to do the time noting for updated Online_v2 program. / - NGK asked RRU to look into Get source command of present Online, how it read source / list. / - We had some discussion over broadcast. / NMS updated that he has linked QML monitoring GUI with database. He wrote some dummy alarm which is displayed on GUI. / - Monitoring GUI can pick up data from XML file or read from database. / - Integrated GUI developed. / - GUI is connected to Online_v2 & database. / - Reprogrammed 27 MCM cards for GAB, which has both mode Online & web interface. / - NGK suggested to do the time noting. / CPK updated that we have received D-Link L2 N/W switch. / - Mangesh did the initial testing & switch has been given to RFI group for RFI testing. / - D-Link L2 N/W switch has some basic L3 functionality. / - Three more switch we will be getting next week. / - Working on Remote programming of MCM card. / - NGK suggested to do the switch setup & testing in next maintenance. / MBM explained about MCM card. / - 58 MCM card tested. / SSS updated that 140 commands completed. / - Will add GAB commands after having discussion with Jitendra Kodilkar. / - Has put command list on Vanilla. / NGK => asked to write summary on top of every command. / Nayak ji updated that MBM has done the 3-Phase monitoring & it's working successfully in W03 antenna / - SNK is working on web tool for 3-Phase monitoring. / - Indent has been raised for M&C work which will be done by TCS for 15 Lakhs using / EPICS platform.