Minutes of Meeting
GMRT

Minutes of Meeting

Meeting	Meeting related to In House CMS development
Held on	28-Aug-2012; Time : 3.30 PM to 5.00 PM; GMRT user's room
Attendees	Nimisha, S. Nayak, Charu, Raju, Santaji and Naresh
Agenda	In House CMS development
Highlights / and items / discussed	Discussed following items : / TELEDISP GUI was discussed like how it is different from current ondisp . / High user and low user functionality of TELESET is explained by Raju. / Both are two different threads of TELESET. / High user thread handles the user input and file input. / Low user thread handle the communication with ABCCOM. / Charu explained about SPI port support provided on New MCM card (Rabbit processor based) for LO system. / New MCM serial port software has been tested with individual systems like LO and IF. / 120 processors has been purchased and components has been given to Hyderabad party for mass production. / It will take around 3 to 4 month of time to test all New MCM card for both support viz serial and Ethernet. / It was discussed whether some Antenna based hardware means PC has been frozen. / In response it was informed that two PC from Miltec Hyderabad has been purchased which has good RFI shielding. / Specification of Miltec PC provided by Charu that it is a core 2 duo machine with 3.2 GHz speed, 4 serial port , 6 USB port, 2 Network card, 500 GB hard disk, Optical converter will be needed for this machines. / Difference between life time of Micro Processors and normal PC discussed. / 16 or 24 port switch will be required for all antennas.

Agenda for next meeting
Discussion on functionality of TELESET-ABCCOM AND TELEDISP